## Service Summary
Site Validation ¦ Certificate of Completion Form
CT4000 |  | Rev 05: September 2017
Important: After performing this service and completing this checklist, you must:
1) Contact ChargePoint Support (877) 850-4562 before leaving the site to provide a status update.
2) Email this completed checklist to sitevalidation@chargepoint.com. Be sure to include the Zen Desk Ticket # in the subject line of the email.
Customer/Site Information
Site Name:
Address (list all):
City/State/Zip:
Site Contact Name:
Site Contact Phone #:
Number of Chargers: |  | Number of Breaker Panels:
Technician Information
Lead Tech. Name:
Technician Phone #: |  | Technician Email:
Service Assist(s):
Service Details
Date of Service: | Zen Desk Ticket #:
Arrival Time:
Departure Time: | Total Travel Hours:
Service Summary
| Yes | No | N/A
Issues noted during Site Validation:
Quote requested to remedy issues:
(double-click inside the box to view wrapped text)
Quote details (or reason why you did not quote if an issue was noted):

## Station Evaluation
Station Evaluation
Perform the following checks on EACH newly installed CT4000 Station and place a checkmark in the appropriate field. Use the Comments section below to provide further details regarding any issues and use the Photos tab (the last tab) to upload pictures taken of those issues.
| Station Checks | Yes | No | N/A
1 | Are there any error codes displayed for any port?
2 | Does each station installation meet ADA compliance?
3 | Is the mounting hardware tightly secured and are all stations level and secure?
4 | Are the cable clamp halves tightly screwed together with no gaps?
5 | Using the images within the Pinpoint Verification tab, were all stations accurately pinpointed during activation?
6 | Are all Non-Gateway stations within a 150-foot clear line-of-sight of their Gateway station and are they getting a minimum of 2 solid bars for LAN signal strength?
7 | Have all chargers been tested and appear to be working properly?
8 | Do the charging cables fully extend and retract smoothly and properly?
9 | Have the two security screws inside the holster plugs been tightened and are the rubber plugs in place?
10 | Are 6 & 8 Guage wire used and installed properly?
11 | For dual-port stations with one set of input wires, have the Power Sharing jumpers fully been installed?
12 | For dual-port stations with one set of input wires, has the station been enabled for Power Sharing?
13 | Are all electrical rating labels correctly applied?
14 | Do the Line-to-line voltage at all power plates measures 208/240 VAC?
15 | Do the Line-to-ground voltage at all power plates measures 120 VAC and does not fall below 80 VAC?
14 | Is a repeater installed?
Station Evaluation Comments
(double-click inside the box to view wrapped text)

## Breaker Panel Evaluation
Breaker Panel Evaluation
Perform the following checks on each breaker panel feeding each newly installed CT4000 Station. Place a checkmark in the appropriate field. Use the Comments section below to provide further details regarding any issues and use the Photos tab (last tab) to upload pictures taken of those issues.
| Breaker Panel Checks | Yes | No
1 | Are the breakers feeding each port a two-pole 40amp, non-GFCI?
2 | Are the breakers feeding each unit the correct quantity and size per the station configuration?
3 | Are the breakers new or in good working order?
4 | Are the breakers labeled correctly in the panel?
5 | Have you confirmed only center-grounded systems were used (120/240 VAC, 1Ø bonded neutral, or 120/208 VAC, 3Ø WYE bonded neutral, or 120/240 VAC, 3Ø Delta center tap-grounded bonded neutral)?
6 | Have you confirmed the station is not connected to an ungrounded 120/208 VAC, 3Ø WYE, or a corner-grounded 120/240 VAC 3Ø Delta, or any system where the center point of the AC power source is not grounded?
Breaker Panel Evaluation Comments
(double-click inside the box to view wrapped text)

## Cellular Coverage Evaluation
Gateway Cellular Coverage Evaluation
Confirm the cellar network and signal strength (RSSI value in dBms) on each Gateway station’s display. Enter this information into the Displayed Values column below.
CDMA = Verizon |  | GPRS = AT&T
Using a Squid-Pro M2M cellular signal detector, confirm the cellular signal strength (RSSI value in dBms) for both AT&T, Sprint andVerizon and enter this information into the Measured Values column.
Note: An RSSI value of more than -90 dBm indicates poor cell coverage and a signal booster or repeater should be recommended to the customer.
|  |  | Displayed dBm Values |  |  | Measured dBm Values
| MAC Address |  | Sprint | AT&T | Verizon | Sprint | AT&T | Verizon
GW Station 1
GW Station 2
GW Station 3
GW Station 4
GW Station 5
GW Station 6
GW Station 7
GW Station 8
GW Station 9
GW Station 10
Gateway Cellular Coverage Evaluation Comments
(double-click inside the box to view wrapped text)

## Pinpoint Verification
Pinpoint Verification
Using the aerial images below, verify each station was correctly pinpointed during its activation.
Note: The below images will be provided by ChargePoint Support. Contact CPI Tech Support (877) 850-4562 while onsite if there are any issues with the station locations.
Aerial View 1
Provide Caption for Photo
Aerial View 2
Provide Caption for Photo

## MAC ID #1 - Photos
Photos (Insert last 4 digits of station MAC address here)
Use this page to upload all photos taken onsite. To upload a photo, right-click inside one of the boxes below and select "Change Picture". Then browse to the folder containing the photos, select a photo for inclusion, and provide an appropriate caption above the photo. There is no need to resize, separately email or upload these photos to another system.
Provide image of the installed station(s) | Provide Image of Open Electrical Panel | Provide Image of Concrete Pad
Provide picture of wiring inside EACH station |  | Provide Image of Other Installed Electrical Infrastructure
Provide Image of the Station Screen(s)
Proivde Image of Cellular Repearter (If applicable)
| Provide Caption for Photo | Provide Caption for Photo
Provide Caption for Photo | Provide Caption for Photo | Provide Caption for Photo

## MAC ID #2 - Photos
Photos (Insert last 4 digits of station MAC address here)
Use this page to upload all photos taken onsite. To upload a photo, right-click inside one of the boxes below and select "Change Picture". Then browse to the folder containing the photos, select a photo for inclusion, and provide an appropriate caption above the photo. There is no need to resize, separately email or upload these photos to another system.
Provide image of the installed station(s) | Provide Image of Open Electrical Panel | Provide Image of Concrete Pad
Provide picture of wiring inside EACH station |  | Provide Image of Other Installed Electrical Infrastructure
Provide Image of the Station Screen(s)
Proivde Image of Cellular Repearter (If applicable)
| Provide Caption for Photo | Provide Caption for Photo
Provide Caption for Photo | Provide Caption for Photo | Provide Caption for Photo

## MAC ID #3 - Photos
Photos (Insert last 4 digits of station MAC address here)
Use this page to upload all photos taken onsite. To upload a photo, right-click inside one of the boxes below and select "Change Picture". Then browse to the folder containing the photos, select a photo for inclusion, and provide an appropriate caption above the photo. There is no need to resize, separately email or upload these photos to another system.
Provide image of the installed station(s) | Provide Image of Open Electrical Panel | Provide Image of Concrete Pad
Provide picture of wiring inside EACH station |  | Provide Image of Other Installed Electrical Infrastructure
Provide Image of the Station Screen(s)
Proivde Image of Cellular Repearter (If applicable)
| Provide Caption for Photo | Provide Caption for Photo
Provide Caption for Photo | Provide Caption for Photo | Provide Caption for Photo

## MAC ID #4 - Photos
Photos (Insert last 4 digits of station MAC address here)
Use this page to upload all photos taken onsite. To upload a photo, right-click inside one of the boxes below and select "Change Picture". Then browse to the folder containing the photos, select a photo for inclusion, and provide an appropriate caption above the photo. There is no need to resize, separately email or upload these photos to another system.
Provide image of the installed station(s) | Provide Image of Open Electrical Panel | Provide Image of Concrete Pad
Provide picture of wiring inside EACH station |  | Provide Image of Other Installed Electrical Infrastructure
Provide Image of the Station Screen(s)
Proivde Image of Cellular Repearter (If applicable)
| Provide Caption for Photo | Provide Caption for Photo
Provide Caption for Photo | Provide Caption for Photo | Provide Caption for Photo

## MAC ID #5 - Photos
Photos (Insert last 4 digits of station MAC address here)
Use this page to upload all photos taken onsite. To upload a photo, right-click inside one of the boxes below and select "Change Picture". Then browse to the folder containing the photos, select a photo for inclusion, and provide an appropriate caption above the photo. There is no need to resize, separately email or upload these photos to another system.
Provide image of the installed station(s) | Provide Image of Open Electrical Panel | Provide Image of Concrete Pad
Provide picture of wiring inside EACH station |  | Provide Image of Other Installed Electrical Infrastructure
Provide Image of the Station Screen(s)
Proivde Image of Cellular Repearter (If applicable)
| Provide Caption for Photo | Provide Caption for Photo
Provide Caption for Photo | Provide Caption for Photo | Provide Caption for Photo