## Service Summary
Site Validation ¦ Certificate of Completion Form
Express 250 |  | Rev 02: April 2019
Important: After performing this service and completing this checklist, you must:
1) Contact ChargePoint Support (877) 850-4562 before leaving the site to provide a status update.
2) Email this completed checklist to sitevalidation@chargepoint.com. Be sure to include the Zen Desk Ticket # in the subject line of the email.
Customer/Site Information
Site Name:
Address (list all):
City/State/Zip:
Site Contact Name:
Site Contact Phone #:
Number of Chargers: |  | Number of Breaker Panels:
Technician Information
Lead Tech. Name:
Technician Phone #: |  | Technician Email:
Service Assist(s):
Service Details
Date of Service: | Zen Desk Ticket #:
Arrival Time:
Departure Time: | Total Travel Hours:
Service Summary
| Yes | No | N/A
Issues noted during Site Validation:
Quote requested to remedy issues:
(double-click inside the box to view wrapped text)
Quote details (or reason why you did not quote if an issue was noted):

## Station Evaluation
Station Evaluation
Perform the following checks on each newly installed Express 250 Station and place a checkmark in the appropriate field. Use the Comments section below to provide further details regarding any issues and use the Photos tab (the last tab) to upload pictures taken of those issues.
| Stations Checks | Yes | No | N/A
1 | Are the electrical connections clean and torqued to specification?
2 | Is the conduit installed properly and are all joints waterproof?
3 | Are the electrical enclosures clean and free of wire strands and metal shavings?
4 | Is there any copper wire exposed at the Terminal Block connections?
5 | Does the Input voltage (line to line) measure 480V +/- 10%?
6 | Have all the covers been replaced and are all fasteners properly tightened?
7 | Does the disconnect switch have a padlock to prevent unauthorized entry into the wiring area? No lock is permitted on the operating lever.
8 | Does the station show a cellular signal strength on the display of at least 2 bars?
9 | Is the RFID reader functional? Tap ChargePoint card provided and verify that RFID responds.
10 | Are there any error messages on the station display?
11 | Is the parking area clean and free of all crate fasteners, packaging, and debris?
12 | Have all steps of the mobile pinpointing process been completed?
13 | Does the station display show the “AVAILABLE - TAP CARD TO START” message?
14 | Is all mounting hardware tightly secured, and are all stations level and solid?
15 | Are the incoming 3 phase wires all stripped to the correct length. (1 inch)
16 | Are there any exposed or cut copper on the 3 phase wires once installed into the terminal block?
Wiring gauge
17 | What is the wiring size used for 480V 3-phase input?
Station Evaluation Comments
(double-click inside the box to view wrapped text)

## Breaker Panel Evaluation
Breaker Panel Evaluation
Perform the following checks on each breaker panel feeding each newly installed Express 250 Station. Place a checkmark in the appropriate field. Use the Comments section below to provide further details regarding any issues and use the Photos tab (last tab) to upload pictures taken of those issues.
| Breaker Panel Checks | Yes | No | N/A
1 | Are the 480V breakers feeding each unit three-pole, non-GFCI?
2 | Are the breakers feeding each unit the correct quantity and size per the station specifications?
3 | Are the breakers new and in good working order?
4 | Are the breakers correctly labeled?
5 | Can you confirm only center-grounded systems were used (480/277 VAC, 3Ø bonded neutral)?
Breaker Panel Evaluation Comments
(double-click inside the box to view wrapped text)

## Cellular Coverage Evaluation
Cellular Coverage Evaluation
Confirm the cellar network and signal strength (RSSI value in dBms) on each Gateway station’s display. Enter this information into the Displayed Values column below.
CDMA = Verizon |  | GPRS = AT&T
Using a Squid-Pro M2M cellular signal detector, confirm the cellular signal strength (RSSI value in dBms) for both AT&T, Sprint andVerizon and enter this information into the Measured Values column.
Note: An RSSI value of more than -90 dBm indicates poor cell coverage and a signal booster or repeater should be recommended to the customer.
|  |  | Displayed dBm Values |  |  | Measured dBm Values
| MAC Address |  | Sprint | AT&T | Verizon | Sprint | AT&T | Verizon
Cellular Coverage Evaluation Comments
(double-click inside the box to view wrapped text)

## Pinpoint Verification
Pinpoint Verification
Using the aerial images below, verify each station was correctly pinpointed during its activation.
Note: The below images will be provided by ChargePoint Support. Contact CPI Tech Support (877) 850-4562 while onsite if there are any issues with the station locations.
Aerial View 1
Provide Caption for Photo
Aerial View 2
Provide Caption for Photo

## Photos
Photos
Use this page to upload all photos taken onsite (photos are required and should be taken of the Upstream Breaker Panel, Internal station service panel, Conduit fitting, site layout, transformer, Overall picture of mounted station on pad. See examples below). Also include any pictures of any issues you discover. To upload a photo, right-click inside one of the boxes below and select "Change Picture". Then browse to the folder containing the photos, select a photo for inclusion, and provide an appropriate caption above the photo. There is no need to resize, separately email or upload these photos to another system.
Provide Image of electical power connections at the terminal block | Provide Image of Conduit Fitting |  | Provide Image of Open Distribution Panel
Provide Image of Installed Station - Front | Provide Image of Installed Station - Back | Provide Image of Internal Station Prior to Installing Covers
Provide Image of Concrete Pad | Provide Image of Disconnect Switch (if Required) | Provide Image Left Rodent Guard
Provide Image Right Rodent Guard | Provide Image of Power Modules Installed | Provide Image of coolant reservoir connections

## Sample Photos
Provide Image of correct wire strip length | Provide Image of electical power connections at the terminal block |  | Provide Image of Open Distribution Panel
Provide Image of Installed Station - Front | Provide Image of Installed Station - Back | Provide Image of Internal Station Prior to Installing Covers
Provide Image of Concrete Pad | Provide Image of Disconnect Switch (if Required) | Provide Image Left Rodent Guard
Provide Image Right Rodent Guard | Provide Image of Power Modules Installed | Provide Image of coolant reservoir connections